## Lighting Power Survey
Lighting Power Survey
Surveyed Building:
A | B | C | D | E | F | G | I | H
Space Type (e.g., office, kitchen, classroom, etc.) | Space Square Footage (NET ft2) | Fixture Type | Number of Fixtures Per Type | Input Watts Per Fixture | Total Watts (Columns D x E) | LPD (Column F divided by Column B) | Control Type (e.g., manual, timeclock, infra-red, etc.) | Illuminance Recommended (LPD) 1 Table 3 Appendix C-2
[5 empty] | 0 | #DIV/0!
[5 empty] | 0 | #DIV/0!
[5 empty] | 0 | #DIV/0!
[5 empty] | 0 | #DIV/0!
[5 empty] | 0 | #DIV/0!
[5 empty] | 0 | #DIV/0!
NET ft2: | 0 |  |  | TOTAL | 0 | #DIV/0! | LPD:
1 If you have access to a light meter, compare actual room readings to the recommended lighting levels for the type of occupancy.

## Lighting Energy Use Survey
Lighting Energy Use Survey
Surveyed Building:
A | B | C | D | E | F | G | H | I
Space Type (from Lighting Power Survey) | Space Square Footage (NET ft2) | Total Watts (from Lighting Power Survey) | Monthly Operating Hours | Watt-hrs per Month (CxD) | kWh (E/1000) | Average Electric Rate per kWhr | Cost per Month (F X G) | Cost per NET ft2 (H/B)
1) |  |  |  | 0 | 0 |  | 0 | #DIV/0!
2) |  |  |  | 0 | 0 |  | 0 | #DIV/0!
3) |  |  |  | 0 | 0 |  | 0 | #DIV/0!
4) |  |  |  | 0 | 0 |  | 0 | #DIV/0!
5) |  |  |  | 0 | 0 |  | 0 | #DIV/0!
6) |  |  |  | 0 | 0 |  | 0 | #DIV/0!
TOTAL | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!

## SURVEY EXAMPLES
Lighting Power Survey: EXAMPLE
Surveyed Building: | ACME Building |  |  | Gross Square Footage: | 10000
A | B | C | D | E | F | G | I | H
Space Type (e.g., office, kitchen, classroom, etc.) | Space Square Footage (NET ft2) | Luminiare Type | Number of Luminaires Per Type | Input Wattage Per Luminaire | Total Wattage (Columns D x E) | Watts per Sq. Ft. (Column F divided by Column B) | Control Type (e.g., manual, timeclock, infra-red, etc.) | Illuminance Recommended (LPD) 1 Table 3 Appendix C-2
Office Space 1 | 2000 | 3 Lamp F32T8 w/ electronic ballasts | 6 | 96 | 576 |  | manual
|  | 4 Lamp F32T8 w/ electronic ballasts | 10 | 128 | 1280 |  | manual
|  | 2 Lamp F32T8 w/ electronic ballasts | 2 | 64 | 128 |  | manual
NET ft2: | 2000 |  |  | TOTAL | 1984 | 0.992 | LPD: | 0.91
Lighting Energy Use Survey
Surveyed Building: | ACME Building |  |  | Gross Square Footage: | 10000
A | B | C | D | E | F | G | H | I
Space Type (from Lighting Power Survey) | Space Square Footage (NET ft2) | Total Wattage (from Lighting Power Survey) | Runtime Hours per Month | Watt hrs per Month (CxD) | kWhr (E/1000) | Average Electric Rate per kWhr | Cost per Month (F X G) | Cost per NET ft2 (H/B)
Office Space 1 | 2000 | 576 | 720 | 414720 | 415 | 0.083 | 34.445 | 0.017223
|  | 1280 | 360 | 460800 | 461 | 0.083 | 38.263 | 0.019132
|  | 128 | 360 | 46, 080 | 46 | 0.083 | 3.818 | 0.001909
TOTAL | 2000 | 1984 | 1140 | 921600 | 922 | 0.083 | 76.526 | 0.038263