BOC 1004 –HVAC Controls Fundamentals

Credits:		1.0

Lecture:		5 hours

Project:			3 hours

Group Exercises:			2 hours

Total:				10 hours

Prerequisites: BOC 1001 or equivalent.

Class Description: Participants will learn the fundamentals of automatic control systems for building mechanical systems to target possible inefficiencies in their HVAC systems and to evaluate potential problems as part of an enhanced operation and maintenance program. Participants will be introduced to Building Automation Systems (BAS) and the graphic user interface as a cost effective tool to review real time building data, identify problems, and verify proper performance for air handling and central plant systems.

PROJECT: HVAC Controls Review

Learning Objectives

At the completion of HVAC Controls Fundamentals a participant will be able to:

- List the main devices in a basic control system.

- List at least two tasks required in the preventative maintenance of control systems.

- Differentiate between analog, low voltage, pneumatic and digital control processes.

- Interpret basic control drawings, sequence of operations, and DDC graphics to identify HVAC control applications and explain control processes.

- Analyze graphical user interfaces from a building’s BAS system to gather data on building and system performance.

- Prepare screen check data forms to troubleshoot building and equipment level issues.

- Use BAS data to compare actual and expected modes of operation to verify operational efficiency.

- Identify BAS data inconsistencies using trend data to confirm system operations.

- Use key performance indicators in BAS data to troubleshoot system issues.

Textbook

BOC 1004 – HVAC Controls Fundamentals Handbook, NEEC

Recommended Readings

Control Systems for HVAC, Roger Haines

DDC-Online.org, Iowa Energy Center

Special Equipment: None

Evaluation

a) Project	50%

b) Test	50%

Class Outline

- Controls Fundamentals

  - Introduction to Control Systems

    - Energy Sources

    - Building Automation and Controls Systems

    - Control Systems Documents

    - Basic Control System Diagrams

      - Basic DDC System Diagram

      - Control Processes

      - Types of Controlled Devices

      - Types of Controller Inputs and Outputs

      - Basic Heat Pump System Diagram

      - Basic Electronic System Diagram

  - Closed and Open Loop Systems

  - Review and Knowledge Check

  - Sensors for HVAC Applications

    - Types of Controlled Variables

    - Communication Signals and Range

  - Basic Data Logging and Verification

  - Class Activity – Identify Controller Inputs and Outputs

  - Review and Knowledge Check

  - Control System Responses

    - Two-Position

    - Floating Control

    - Proportional Control

    - Proportional Integral (PI) Control

    - Proportional Plus Integral & Derivative (PID) Control

  - Control System Actions

    - Direct Action

    - Reverse Action

  - Section Summary and Knowledge Check

- Direct Digital Control (DDC) Systems

  - DDC Network Architecture

    - Level 1: Sensors

    - Level 2: Field Controllers

    - Level 3: Integration

    - Level 4: Management

    - Communication Standards Software Integration

  - Introduction to Building Automation Systems (BAS)

    - GUI Examples

    - Second Review and Knowledge Check

    - Class Activities

      - Identify Component Location

      - Converter Control with Reset Schedule

    - Performance Considerations

    - Preventive Maintenance

    - Trend Data

    - BAS Screen Checks

    - The Graphic User Interface (GUI) as a diagnostic tool

      - Air Handler

      - Terminal Unit

      - Benefits of the BAS GUI

      - Verification of GUI accuracy

      - Gathering building information: system design and control sequences

      - Trend data availability

    - Screen Check Forms

      - Types of equipment

      - Data to be recorded

    - Screen Check Process

      - Order of checks

      - Frequency

      - Reporting

    - Trending

      - BAS capability

      - What to trend

      - Multi-point trends

      - Proving the trend

- Controls Strategies for Improving Energy Efficiency of HVAC Systems

  - Common problems

  - Key performance indicators (KPI’s)

    - KPI case study: AHU

    - KPI case study: chiller

  - Class Activities

    - Activity 2A – BAS Screen Data Check and Analysis of an AHU

    - Activity 2B – BAS Screen Data Check and Analysis of a VAV Fan

  - Section Summary and Knowledge Check

- Summary

- Course Project Assignment

  - Overview

  - Q&A