## Sheet1
Estimated Energy Bills | SSCC Building C |  | Seattle HDD/CDD and Energy $
College/School | EIA Average use | 84300 | kBTU per square foot per year
SSCC Building C | Building Size | 13514 | total square foot
Calculate annual kBTU | 1139230200 | Total kBTU per year
Electric - 79% | 899991858
Natural Gas - 21% | 239238342
Total kBTU per year | 1139230200
|  | Distribution by: | Electric (BTU) | KWH | Natural Gas (BTU) | Therm | cost/yr | KW/on peak
Lighting interior | 25% | Scheduled | 284807550 | 83447.8611 | 0 | 0 | 8344.7861 | 7kW/13max
Lighting Exterior | 10% | 12 payments | 113923020 | 33379.1444 | 0 | 0 | 3337.9144 | 0
AHU Heating | 19% | Seasonal - HDD | 0 | 0 | 216453738 | 2639 | 5278 | 0
Terminal Reheat (TR) | 2% | Econimizer | 22784604 | 6675.8289 | 0 | 0 | 667.5829 | 15kW / 80 max
Cooling | 16% | Seasonal - CDD | 182276832 | 53406.6311 | 0 | 0 | 5340.6631 | 12kW
Ventilation (V) | 13% | Scheduled | 148099926 | 43392.8878 | 0 | 0 | 4339.2888 | 6kW/13max
Water Heatiing | 2% | 12 payments | 0 | 0 | 22784604 | 237 | 474 | 1kW
Office Equipment (OE) | 9% | Scheduled | 102530718 | 30041.23 | 0 | 0 | 3004.123 | 5kW/ 10max
Miscellaneous | 4% | Scheduled | 45569208 | 13351.6578 | 0 | 0 | 1335.1658 | 4kW
total | 100% |  | 899991858 | 263695.2411 | 239238342 | 2876 | 32121.5241 | 50kW
Total Lighting | 35% |  |  | 0.1 |  | 2 |  | -20%
Total HVAC + HW | 52% |  |  | 26369.5241 |  | 5752 |  | 40kW
Total Process | 13%
100%
| Lighting (kWH) | AC (kWH) | Vent, TR, OE, Misc | Total kWH | KWH Cost @ .10 | Demand kW | rate/KW | Demand | Elect $ | Therms NG | NG Cost @$2 | Energy Bill
January | 10384 |  | 8515 | 18899 | 1889.9 | 40 | 12.1 | 484 | 2373.9 | 385 | 770 | 3143.9
February | 10384 |  | 8515 | 18899 | 1889.9 | 40 | 11.66 | 466.4 | 2356.3 | 383 | 766 | 3122.3
March | 10384 |  | 8515 | 18899 | 1889.9 | 40 | 9.19 | 367.6 | 2257.5 | 396 | 792 | 3049.5
April | 10384 | 271.7913 | 8515 | 19170.7913 | 2041.9 | 40 | 8.61 | 344.4 | 2386.3 | 247 | 494 | 2880.3
May | 10384 | 5979.4097 | 8515 | 24878.4097 | 1917.0791 | 40 | 5.6 | 224 | 2141.0791 | 130 | 260 | 2401.0791
June | 7787 | 8833.2188 | 5607 | 22227.2188 | 2487.841 | 40 | 5.04 | 201.6 | 2689.441 | 91 | 182 | 2871.441
July | 7787 | 14948.5242 | 5607 | 28342.5242 | 2222.7219 | 40 | 10.27 | 410.8 | 2633.5219 | 37 | 74 | 2707.5219
August | 7787 | 18210.0204 | 5607 | 31604.0204 | 2834.2524 | 40 | 12.1 | 484 | 3318.2524 | 25 | 50 | 3368.2524
September | 10384 | 5164.0356 | 8515 | 24063.0356 | 3160.402 | 40 | 11.91 | 476.4 | 3636.802 | 81 | 162 | 3798.802
October | 10384 |  | 8515 | 18899 | 1890 | 40 | 11.42 | 456.8 | 2346.8 | 274 | 548 | 2894.8
November | 10384 |  | 8515 | 18899 | 1889.9 | 40 | 12.07 | 482.8 | 2372.7 | 347 | 694 | 3066.7
December | 10384 |  | 8515 | 18899 | 1889.9 | 40 | 13.45 | 538 | 2427.9 | 391 | 782 | 3209.9
| 116817 | 53407 | 93456 | 263680 | 26003.6964 |  |  |  | 30940.4964 | 2787 | 5574 | 36514.4964
| Annual BTUs | square feet | EUI
Energy Use Index | 1139230200 | 13514 | 84.3 | kBTU/sq ft.yr
Annual cost/sq ft | 36514.5 | 13514 | 2.702 | Annual cost/sq ft