# Scoping Interview Guide

Building Name:		Date:

Interviewee: 		Title:

1.	Have there been any energy systems modifications, replacements 
or additions in the last few years?                                                     Yes         No

If yes, describe each action and implementation date.

2.	Are you aware of any barriers to successful implementation of services in this facility, such as environmental dangers or tenant agreements? 	Yes   No

If yes, please specify.

3.	Who has overall responsibility for your O&M program? ______________________________________________________________________________

4.	How many members of your staff are permanently assigned to building operations and maintenance activities, and what are their duties?

Is ongoing training currently provided to upgrade facility staff skills?		Yes   No

5.	Do you contract with outside vendors for building operations or maintenance services? 	Yes   No

If yes, for which systems, equipment or roles?  (Check all that apply)

Package Units			Chiller

Boiler			Entire Central Plant

DDC Controls			Entire HVAC

Refrigeration			Operating Engineer

Other			Describe

Are you satisfied with the contracted services? 	Yes   No

If no, describe areas that you are not satisfied with:

6.	Are maintenance reports submitted to management? 	Yes   No

7.	Is there a unified equipment inventory? 	Yes   No

8.	Can the occupants control the temperature setpoints? 	Yes   No

9.	Can the occupants control the temperature schedules? 	Yes   No

10.	Have there been any recent occupant complaints relevant to the performance of the building systems? 	Yes   No

If yes, describe:

11.	Who is responsible for day-to-day operation of the EMCS?

Do they set up or modify:

Setpoints?			Operating Schedules

Trendlogs			Control Algorithms

Other

Maintenance and technical assistance performed by:

12.	How often are thermostats checked and calibrated?

13.	How often are the critical control sensors (OSA, SAT, and RAT) checked and calibrated?

14.	Will building facility personnel be available to assist? 	Yes   No

If no operator, is HVAC maintenance contractor available to assist? 	Yes   No

15.	Are there known problems with the following energy system equipment?

Equipment Type			Known Problem/Plan for Correction

Chillers:	Yes   No

Cooling Towers: 	Yes   No

Boilers:	Yes   No

Pumps:	Yes   No

Air Handling Units: Yes   No

Other Fans:	Yes   No

Lighting Control:	Yes   No

Electrical Systems:	Yes   No

Other:	Yes   No

16.	Are the following items available?  (List only if correct and current)

| Item | Yes | No | Location |
| --- | --- | --- | --- |
| Division 15 and 16 Specifications |  |  |  |
| Mechanical Drawings |  |  |  |
| Control Sequence Description |  |  |  |
| Control Drawings |  |  |  |
| EMCS Points List |  |  |  |
| EMCS Program Print Out |  |  |  |
| Electrical Drawings |  |  |  |
| Equipment Repair History |  |  |  |
| Test & Balance Report |  |  |  |
| Manufacturer Startup Documentation |  |  |  |
| O&M Manuals (For Controls and Major Equipment) |  |  |  |

17.	Describe generally any lighting controls such as daylighting, occupancy or sweep controls.

________________________________________________________________________

18.	Describe the trending capability of your control system(s).

19.	How do you financially evaluate operations and maintenance “projects”?