## Sheet1
Scoping Interview Guide
Building Name:
Interviewee:
Title:
Date:
|  |  | Yes | No
1. Have there been any energy systems modifications, replacements or additions in the last few years?
If yes, describe each action and implementation date.
2. Are you aware of any barriers to successful implementation of services in this facility, such as environmental dangers or tenant agreements?
If yes, please specify.
3. Who has overall responsibility for your O&M program?
4. How many members of your staff are permanently assigned to building operations and maintenance activities, and what are their duties?
Is ongoing training currently provided to upgrade facility staff skills?
5. Do you contract with outside vendors for building operations or maintenance services?
If yes, for which systems, equipment or roles? (Check all that apply)
Package Units
Boiler
DDC Controls
Refrigeration
Other
Chiller
Entire Central Plant
Entire HVAC
Operating Engineer
Other (Describe)
Are you satisfied with the contracted services?
If no, describe areas that you are not satisfied with:
6. Are maintenance reports submitted to management?
7. Is there a unified equipment inventory?
8. Can the occupants control the temperature setpoints?
9. Can the occupants control the temperature schedules?
10. Have there been any recent occupant complaints relevant to the performance of the building systems?
If yes, describe:
11. Who is responsible for day-to-day operation of the EMCS?
Check the controls they set up or modify:
Setpoints
Trendlogs
Operating Schedules
Control Algorithms
Other
Maintenance and technical assistance performed by:
12. How often are thermostats checked and calibrated?
13. How often are the critical control sensors (OSA, SAT, and RAT) checked and calibrated?
14. Will building facility personnel be available to assist?
If no operator, is HVAC maintenance contractor available to assist?
15. Are there known problems with the following energy system equipment?
Equipment Type
Chillers:
Cooling Towers:
Boilers:
Pumps:
Air Handling Units:
Other Fans:
Lighting Control:
Electrical Systems:
Other:
For any 'Yes' answers what is the known problem/plan for correction
16. Are the following items available? (List only if correct and current)
Item
Division 15 and 16 Specifications
Mechanical Drawings
Control Sequence Description
Control Drawings
EMCS Points List
EMCS Program Print Out
Electrical Drawings
Equipment Repair History
Test & Balance Report
Manufacturer Startup Documentation
O&M Manuals (For Controls and Major Equipment)
Location (describe where to locate these files)
17. Describe generally any lighting controls such as daylighting, occupancy or sweep controls.
18. Describe the trending capability of your control system(s).
19. How do you financially evaluate operations and maintenance “projects”?